RBR CTD DATA PROCESSING NOTES

Cruise: 2025-002

Agency: OSD

Locations: WCVI, Haro Strait

Project: Passive Acoustics

Party Chief:  O’Neill C.

Platform: Charter

Date: February 25, 2025 – March 7, 2025

Processed by: Samantha Huntington

Date of Processing: April 2, 2026 – April 8, 2026

Number of Raw files: 18	 	Number of Processed Files: 9

Instrument Summary

Equipment: RBR Concerto CTD (s/n 204848).

Sampling frequency was at 8Hz.

Summary of Quality and Concerns

A cast list of times and locations was not provided.  A spreadsheet from each Ruskin file was extracted to find the profile times of the casts.  These times were checked against the logs from each station to confirm time and location of each cast.  A header merge file was created with these times and locations.

There were two profiles at each station, but the first profiles were soaks and discarded from processing.

The data overall look good with some bad data at the bottom of a few casts, these will be examined after the upcast is removed.

Processing Summary

- Conversion to IOS Headers

File 204848_20250227_0126_SOGSoutheast_SOGSouth.rsk contained casts 1 and 2.

File 204848_20250228_2247_ SOG North_Swanson Channel_Boundary Pass.rsk contained casts 3-5.

File 204848_20250305_2002_Sooke_Port Renfrew_Jordan River.rsk contained casts 6-8.

File 204848_20250306_2227_Haro Strait.rsk contained cast 9.

The profiles were extracted using python function READ_RSK().

A single file (2025-002_CTD_Data.csv) with all the data including event numbers and a single line of headers was prepared using python function MERGE_FILES().

A 6-line header was inserted using python function Add_6Lineheader_2().

File “2025-002_header-merge.csv” was created, based on the information provided by the chief scientist.

- Column “File_Name”: entries were derived from the event number.

- Column “LOC:LATITUDE”: latitude was provided and reformatted to “XX XX.XXXX N !(deg min)”.

- Column “LOC:LONGITUDE”: longitude was provided  and reformatted to “XX XX.XXXX W !(deg min)”.

- Column “LOC: Event Number”: entries were event numbers.

- Column “LOC: STATION”: entries were taken from the Log files.

The sampling site was mapped (Figure 1) using from “2025-002_header-merge.csv” using python function Plot_Track_Location() to check the location of all casts.

Prior to conversion to IOS header format, the presence of zero-order holds were checked using Python function check_for_zoh and then corrected using python function read_RSK(), this time using pyRSKTools function to remove the zero-order holds.

A new csv file was created “2025-002_CSV_DATA-6Linedr_corr_hold.csv” and the corrected values were checked in python function Plot_Pressure_Diff().  Zero-order holds were found to be removed (Figure 3.).

CONVERT Spreadsheet Files was run to produce files with IOS Header format. Header entries of “Administration”, “File” and “Instrument” were filled in this step.

The routine “Merge:CSV Files to headers” was run to add location headers to the IOS files.

Next CLEAN was run to add a start time and event numbers to headers.

Raw data were plotted and examined:

- Salinity looks good.

- Temperature looks good.

- Conductivity looks good.

Then REORDER was run to reorder the channels in all files.

- Data processing

- CLIP: Pressure is steady for a variable number of scans. Initial records were removed until the downcast began using file “2025-002_CLIP.csv”.

- Filter: a Gull-winged filter, size 3, was applied to temperature, conductivity, and pressure. Salinity will be calculated in the next step.

- SHIFT: Based on suggested values in document “Guidelines for processing RBR CTD profiles”, the alignment of temperature and conductivity was corrected by applying a shift of -2 scans in conductivity.

- Delete was run to remove records with a descent rate lower than 0.1m/s over 8 points. This was not applied in the top 10m to avoid loss of surface records as the CTD began its descent.

- Profile plots were examined after DELETE and confirm that plots show reasonable values for salinity and conductivity.

- Final checks and header editing

- REMOVE was run to remove the following channels from all casts: Date, Time:UTC and Event.

- BIN AVERAGE was used to metre-average data.

- CALIBRATE was run to convert conductivity units to S/m using file 2025-002-recal2.ccf.

- Header Edit was used to fix channel names and format as listed below:

  - Pressure: format F11.2 ==> F7.1

  - Salinity:CTD  ==> Salinity

- CLEAN was run to reset the Maximum and Minimum values in the Header.

- Header Check was run and no problems were found.

Figure 1 – location of casts.

Figure 2 – Zero order holds present.

Figure 3 – zero order holds removed