RBR CTD DATA PROCESSING NOTES

Cruise: 2025-089

Agency: ESD

Locations: Bedwell Sound

Project: Pacific Aquaculture Monitoring Program Oceanographic Modeling Collaboration

Party Chief:  Shimomura M.

Platform: Sixgill

Date: July 10, 2025 – September 26, 2025

Processed by: Samantha Huntington

Date of Processing: March 19, 2026 – March 23, 2026

Number of Raw files: 25 	Number of Processed Files: 24

Instrument Summary

Equipment: RBR Concerto CTD (s/n 206828) with a Turner Cyclops Fluorometer.

Sampling frequency was at 8Hz.

Summary of Quality and Concerns

This cruise was conducted on three separate days during the summer of 2025, three cast lists were provided, 2025-07-10 CTD Metadata.xlsx, 2025-08-10 CTD Metadata.xlsx and 2025-09-26 CTD Metadata.xlsx.

There was a note to ignore the very first cast, and to skip the first 8 casts in the final ruskin file.

Time is in local time and will need to be changed to UTC.

The data overall look good with some bad data at the bottom of all casts, some spikes, and some noisy Temperature data.

Processing Summary

- Conversion to IOS Headers

Multiple profiles were found in the three 206828_*.rsk files, the profiles were extracted using python function READ_rsk().

A single file (2021-0045_CTD_Data.csv) with all the data including event numbers and a single line of headers was prepared using python function MERGE_FILES().

A 6-line header was inserted using python function Add_6Lineheader_2().

Prior to conversion to IOS header format, the presence of zero-order holds were checked using Python function check_for_zoh().  Zero-order holds were found (Figure 2.) and these values were replaced with Nan using the python function first_corrections().

A new csv file was created “2025-089_CSV_DATA-6Linedr_corr_hold.csv” and the corrected values were checked in python function Plot_Pressure_Diff().  Zero-order holds were found to be removed (Figure 3.).

File “2025-089_header-merge.csv” was created, based on the information provided by the chief scientist.

- Column “File_Name”: entries were derived from the event number.

- Column “LOC:LATITUDE”: latitude was provided and reformatted to “XX XX.XXXX N !(deg min)”.

- Column “LOC:LONGITUDE”: longitude was provided  and reformatted to “XX XX.XXXX W !(deg min)”.

- Column “LOC: Event Number”: entries were event numbers.

- Column “LOC: STATION”: all stations were set to the station names that were provided.

The sampling site was mapped (Figure 1) using from “2025-089_header-merge.csv” using python function Plot_Track_Location() to check the location of all casts.

CONVERT Spreadsheet Files was run to produce files with IOS Header format. Header entries of “Administration”, “File” and “Instrument” were filled in this step.

Next CLEAN was run to add a start time and event numbers to headers.

Then REORDER was run to reorder the channels in all files.

The routine “Merge:CSV Files to headers” was run to add location headers to the IOS files.

A record number was added to each file.

Raw data were plotted and examined:

- Salinity looks good with some bad data at the bottom of all casts and possibly some spikes to be padded after the upcast is removed.

- Temperature looks good with some bad data at bottom of most casts. Temperature is a little noisy and will be examined again after FILTER.

- Conductivity looks good with some bad data at the bottom of all casts and possibly some spikes to be padded after the upcast is removed.

- Fluorescence looks good with some spikes and bad data at the bottom of most casts.

- Data processing

- Correction to Pressure: although there were negative pressures seen in the raw data, the corresponding Conductivity was found to be low, so pressure was not calibrated.

- CLIP: Pressure is steady for a variable number of scans. Initial records were removed until the downcast began using file “2025-089_CLIP.csv”.

- Filter: a Gull-winged filter, size 3, was applied to temperature, conductivity, and pressure. Salinity will be calculated in the next step. Temperature was examined and the size 3 Filter was enough to reduce the noisy data.

- SHIFT: Based on suggested values in document “Guidelines for processing RBR CTD profiles”, the alignment of temperature and conductivity was corrected by applying a shift of -2 scans in conductivity.

- Delete was run to remove records with a descent rate lower than 0.1m/s over 8 points. This was not applied in the top 10m to avoid loss of surface records as the CTD began its descent.

- Profile plots were examined after DELETE and confirm that plots show reasonable values for salinity and conductivity and fluorescence.

- Bad data were removed from casts 1-5, 7, 9-12, 15-21, 23-24.

- Spikes in Conductivity and Salinity were padded in casts 5, 7 and 22. There were no negative Fluorescence values after delete.

- Final checks and header editing

- Time was converted from PDT to UTC using ADD TIME CHANNELS

- CLEAN was run to reset the maximum and minimum values.

- REMOVE was run to remove the following channels from all casts: Date, Time:UTC, Record Number and Event.

- BIN AVERAGE was used to metre-average data.

- CALIBRATE was run to convert conductivity units to S/m using file 2025-089-recal2.ccf.

- Header Edit was used to fix channel names and format as listed below:

- Pressure: format F11.2 ==> F7.1

- Salinity:CTD  ==> Salinity

- Fluorescence==> Fluorescence:URU

- CLEAN was run to reset the Maximum and Minimum values in the Header.

- Header and Standards checks were run and no problems were found.

Figure 1 – location of casts.

Figure 2 – zero-order holds

Figure 3 – zero order holds removed