RBR CTD DATA PROCESSING NOTES

Cruise: 2026-039

Agency: OSD

Locations: Nootka Sound

Project: Nootka Sound Weather Stations - ACRDP

Party Chief:  Cooper G.

Platform: Doug Anderson

Date: March 10, 2026 – March 13, 2026

Processed by: Samantha Huntington

Date of Processing: May 27, 2026 – May 29, 2026

Number of Raw files: 66	 	Number of Processed Files: 65

Instrument Summary

Equipment: RBR Maestro CTD (s/n 204694) with a Turner Cyclops Fluorometer (s/n 211012), a JFE Advantech Rinko III oxygen sensor (s/n 0411). Lowered by winch at approximately 1 m/s.

Sampling frequency was at 8Hz.

Summary of Quality and Concerns

A cast list of times and locations was provided, “2026-039CTDLogSheet.xlxs”.

Cast 49 went down to 5m and then back up again before the cast was restarted.  A filler cast number 999 was placed in the header-merge file so that the 5m cast could be concatenated with the full cast, CLIP will be used to remove the 5m cast from the full cast.

Cast 47 went to 100m instead of 120 due to the proximity to a fish farm and concern about catching anchoring gear.

The data overall look good with some large spikes in Fluorescence. These will be examined after delete when the upcast is removed.

Processing Summary

- Conversion to IOS Headers

File 204694_20260313_1606.rsk contained the 66 profiles which were extracted using python function READ_RSK().

A single file (2026-039_CTD_Data.csv) with all the data including event numbers and a single line of headers was prepared using python function MERGE_FILES().

A 6-line header was inserted using python function Add_6Lineheader_2().

File “2026-039_header-merge.csv” was created, based on the information provided by the chief scientist.

- Column “File_Name”: entries were derived from the event number.

- Column “LOC:LATITUDE”: latitude was provided and reformatted to “XX XX.XXXX N !(deg min)”.

- Column “LOC:LONGITUDE”: longitude was provided  and reformatted to “XX XX.XXXX W !(deg min)”.

- Column “LOC: Event Number”: entries were event numbers.

- Column “LOC: STATION”: entries were taken from the Log file.

The sampling site was mapped (Figure 1) using from “2026-039_header-merge.csv” using python function Plot_Track_Location() to check the location of all casts.

Prior to conversion to IOS header format, the presence of zero-order holds were checked using Python function check_for_zoh().  Zero-order holds were found (Figure 2.) these values were replaced with an interpolated value using the python function first_corrections().

The two csv files for cast 49 were concatentated and MERGE_FILES and ADD_6LINEHEADER were repeated so that the full cast for event 49 was included.

A new csv file was created “2026-039_CSV_DATA-6Linedr_corr_hold.csv” and the corrected values were checked in python function Plot_Pressure_Diff().  Zero-order holds were found to be removed (Figure 3.).

CONVERT Spreadsheet Files was run to produce files with IOS Header format. Header entries of “Administration”, “File” and “Instrument” were filled in this step.

The routine “Merge:CSV Files to headers” was run to add location headers to the IOS files.

Next CLEAN was run to add a start time and event numbers to headers.

Raw data were plotted and examined:

- Salinity looks good.

- Temperature looks good.

- Conductivity looks good.

- Oxygen looks good.

- Fluorescence has some significant spikes in many casts. .

- Data processing

- Correction to Pressure: there were no negative pressures found  so pressure was not calibrated.

- A record number was added to each record.

- CLIP: Pressure is steady for a variable number of scans. Initial records were removed until the downcast began using file “2026-039_CLIP.csv”.

- Filter: a Gull-winged filter, size 3, was applied to temperature, conductivity, and pressure. Salinity will be calculated in the next step.

- SHIFT: Based on suggested values in document “Guidelines for processing RBR CTD profiles”, the alignment of temperature and conductivity was corrected by applying a shift of -2 scans in conductivity.

- SHIFT: Better alignment with Oxygen profiles was found by advancing it by 11 scans. The advice given in document “Guidelines for processing RBR CTD Profiles” was that an advance between 2 and 3 seconds is appropriate. T-O plots before and after alignment were compared.

- Derive Oxygen Concentration:

- Data from the shift files was extracted using python function get_rbr_data().  Oxygen:Dissolved:Concentration was derived using python function convert_oxy().  Both of these functions can be found in the python file rbr_oxy.py.  A file containing the derived oxygen “2026-035_Oxygen_for_IOSshell.csv” was created so that it could be converted into the IOS shell files.

- MERGE was used to merge the derived Oxygen:Dissolved:Concentration back into the IOS Shell file.

- Delete was run to remove records with a descent rate lower than 0.3m/s over 8 points. This was not applied in the top 10m to avoid loss of surface records as the CTD began its descent.

- Profile plots were examined after DELETE and confirm that plots show reasonable values for salinity and conductivity and fluorescence.

- Data despiking: Fluorescence spikes were manually replaced with PAD values in casts 2, 3, 9, 14, 16, 20, 32, 35, 46, 48, 49, 50, 58, 59, 60, 62, 63.

- Bad data was removed from the bottom of casts 19 and 35.

- CLEAN was run to reset the max and min values in the headers and replace negative Fluorescence values with PAD values.

- REORDER was run to reorder the channels.

- Final checks and header editing

- REMOVE was run to remove the following channels from all casts: Date, Time:UTC, Record number and Event.

- BIN AVERAGE was used to metre-average data.

- CALIBRATE was run to convert conductivity units to S/m using file 2026-039-recal2.ccf.

- Header Edit was used to fix channel names and format as listed below:

  - Salinity:CTD  ==> Salinity

  - Fluorescence ==> Fluorescence:URU

  - Oxygen_mL_L ==> Oxygen:Dissolved:Rinko

  - Oxygen_umol_kg ==> Oxygen:Dissolved:Rinko

- CLEAN was run to reset the Maximum and Minimum values in the Header.

- Header Check was run and no problems were found.

Figure 1 – location of casts.

Figure 2 -  Zero order holds removed.

Figure 3 – zero order holds removed