February 8, 2010 – Germaine Gatien

2003-42

These files were converted before delivery to IOS. They contain temperature, pressure, date and time channels.

There are 28 files. Some may contain more than one profile.

Several profiles were cut off prematurely due to low battery power.

The calibration parameters are recorded in the headers, but the sensor numbers were not recorded.

There is no indication that conductivity was measured.

Date of Cruise: 4 September 2003 – 21 September 2003

Platform: F/V Ocean Selector (charter)

Project: Thornyhead Biomass

Area: West Coast Vancouver Island (Barkley Sound to Quatsino Sound)

Responsible Scientist: Ed Choromansky

Agency: DFO and Canadian Groundfish Research & Conservation Society

CTD: SBE39

Channels: Temperature, Pressure, Date, Time