Current meter conversion notes

Feb 16, 1998.

Mission  : Deployment (84-10, 84-11)

Recovery   (84-14)

Date     : April 20, 1984 - Oct 14, 1984

Project  : NCODE3

Station  : QA3, QC1, QE1, QE2, QE3, QE4, QF1 and QF2.

Comments:

There were 22 files converted from CHS.

--------------------------------------------------------------------------------

** QA3 **

QA3__0050.CUR -- 50m

3675/ Mooring adrift on recovery. Removed cond/sal spikes.

Salinities calculated by the Perkin & Walker formula.

WARNING! Avg depth excursion 2.57 dbars, avg max excursion 17.7 dbars.

Recovered on cruise IOSOP84-14.

QA3__0150.CUR -- 150m

3666/ Mooring adrift on recovery.Removed cond/sal spike seq#4234-4267.

Salinities calculated by the Perkin & Walker formula

WARNING! Avg depth excursion 2.94 dbars, avg max excursion 16.0 dbars.

Recovered on cruise IOSOP84-14.

QA3__0250.CUR -- 250m

RCM5 5972/05 Translated using CMT77 - try 2 using right channel Mooring adrif

t on recovery.

Salinities calculated by the Perkin & Walker formula

WARNING! Large mooring tilts observed, see rcm4/sn3675/t8.drav and sn3666/t10

.drav data.

Recovered on cruise IOSOP84-14.

--------------------------------------------------------------------------------

** QC1 **

QC1__0055.CUR

RCM4 3695/1 Translated using CMT77

Instr. depth changed from nominal depth of 50m to 55m,indicated by mooring_

tilt depth pgm data.

Salinities calculated by the Perkin & Walker formula

Recovered on cruise IOSOP84-14.

QC1__0155.CUR

RCM4 3789/8 Translated using CMT77

Depth changed from original nominal depth of 150 m to 155m, that shown on

mooring_tilt pgm depth summary.

Salinities calculated by the Perkin & Walker formula.

Recovered on cruise IOSOP84-14.

QC1__0195.CUR

RCM4 2361/0  Translated using CMT77

Changed depth from nominal 190m to 195m as instr on mooring above (sn3695/t1

and sn3789/t8) show 5m greater depth shift.

Salinities calculated by the Perkin & Walker formula

Recovered on cruise IOSOP84-14.

--------------------------------------------------------------------------------

** QE1 **

QE1__0025.CUR

RCM4  739/3  Translated using CMT77 Mooring did not release on 1st try,meter

covered with marine growth upon recovery, rotor would not turn.

Speed padded seq#s 4226-end as were slowing down beyond here.

Channel #4 - uncalibrated data.

Recovered cruise IOSOP84-14.

--Pressure channel was removed.

--------------------------------------------------------------------------------

** QE2 **

QE2__0045.CUR

RCM4 507/30  Translated using CMT77.   Fishing line wrapped around spindle

at lower zinc.  Padded 0 speeds seq#s 3387-3419.

Removed cond/sal spike seq #   7380-7393.

Salinities calculated by the Perkin & Walker formula

Reduced instr depth to 45m as per data from mooring_tilt depth summary.

Recovered on cruise IOSOP84-14.

QE2__0145.CUR

RCM4  1500/2a Translated using CMT77. Pressure calib'n may not be exact.

Salinities calculated by the Perkin & Walker formula

Changed instr depth to 145m due to poor pressure calib'n on instrument and

top instr (sn507/t30) indicates depth reduction of 5m from nom'l depth.

Recovered on cruise IOSOP84-14.

--------------------------------------------------------------------------------

** QE3  **

QE3__0050.CUR

RCM4  3671/16  Translated using CMT77.Removed many cond/sal spikes.

Salinities calculated by the Perkin & Walker formula

Recovered on cruise IOSOP84-14.

QE3__0155.CUR

RCM4  4294/1  Translated using CMT77

Salinities calculated by the Perkin & Walker formula

Recovered cruise IOSOP84-14.

QE3__0300.CUR

RCM4  5974/4 Translated using CMT77 - 4th try, used right track Ch4 (exp temp

) has many spikes, use Ch2 for salinity computation.

Salinities calculated by the Perkin & Walker formula

Recovered on cruise IOSOP84-14.

--------------------------------------------------------------------------------

** QE4 **

QE4__0040.CUR

RCM4 3679/1  Translated using CMT77

Salinities calculated by the Perkin & Walker formula

WARNING! Avg depth excursion 1.73 dbars, avg max excursion 4.15 dbars.

Instr. depth changed to 40m as per mooring_tilt pgm data.

Recovered on cruise IOSOP84-14.

QE4__0140.CUR

RCM4 3688/10  Translated using CMT77

Salinities calculated by the Perkin & Walker formula

Recovered on cruise IOSOP84-14.

--------------------------------------------------------------------------------

** QF1 **

QF1__0050.CUR

RCM4 3673/9  Translated using AML769D (AMLTR)                   padded out co

nd/sal spikes.

SY    8575LR       4SR       5AB

0BE      18PE       7

Salinities calculated by the Perkin & Walker formula

WARNING! Avg depth excursion 5.6 dbars, avg max excursion 38.8 dbars!

Recovered on cruise IOSOP84-14.

QF1__0150.CUR

RCM4 3669/8  Tranlated using AML769D (AMLTR)

SY    8570LR      11SR      10AB

0BE      44PE      19

Salinities calculated by the Perkin & Walker formula

WARNING! Avg depth excursion 5.4 dbars, avg max excursion 31.9 dbars!

Recovered on cruise IOSOP84-14.

QF1__0300.CUR

RCM4  3705/9  Translated using AML769D (AMLTR)                  padded 0 spee

ds seq#s 482-496, 610-616, 4385-4402, and 4803-4820

SY    8580LR       1SR       1AB

0BE       1PE       0

Salinities calculated by the Perkin & Walker formula

WARNING! Large mooring tilts observed, see sn3673/t9.drav and sn3669/t8.drav

data.

Recovered on cruise IOSOP84-14.

QF1__0357.CUR

RCM4 1702/10  Translated using AML769D (AMLTR).Cond/sal not  calibrated yet.

Pressure port plugged.

SY    8565LR       1SR       1AB

0BE       3PE       1

Salinities calculated by the Perkin & Walker formula.

WARNING! Large mooring tilts observed, see sn3673/t9.drav & sn3669/t8.drav

data.

Recovered on cruise IOSOP84-14.

--------------------------------------------------------------------------------

** QF2 **

QF2__0055.CUR

RCM4  6101/10  Translated using CMT77.Time word (alternates with pressure)

padded out, many cond/sal spikes padded out.

Salinities calculated by the Perkin & Walker formula

WARNING! Avg depth excursion 13.0 dbars, avg max excursion 93.9 dbars!

Instr depth changed to 55m as per mooring_tilt pgm data.

Recovered on cruise IOSOP84-14.

QF2__0155.CUR

RCM4 6102/1  Translated using AML769D (AMLTR).Channel 4 (time/pressure alter-

nates).Time values padded out.

SY    8570LR       2SR       3AB

0BE       6PE       4

Salinities calculated by the Perkin & Walker formula

WARNING! Avg depth excursions 12.2 dbars, avg max excursion 89.1 dbars.

Instr. depth increased to 155m as per mooring_tilt pgm data.

Recovered on cruise IOSOP84-14.

QF2__0305.CUR

RCM4 3684/1 Translated using AML769D (AMLTR). Compass died at seq# 7466,

many direction edits required to fix components before this point

Ch5 padded 7466-end              SY    8575LR       2SR       2AB

6BE       4PE       3

Salinities calculated by the Perkin & Walker formula.

WARNING! Avg depth excursion 10.5 dbars, avg max excursion 59.1 dbars!

Instr depth changed to 305m as per mooring_tilt pgm data.

Recovered on cruise IOSOP84-14.

QF2__0405.CUR

RCM4 1704/10  Translated using AML769D (AMLTR).Cond/sal not calibrated yet,

pressure plugged.

SY    8568LR       1SR       2AB

0BE       9PE       1

Salinities calculated by the Perkin & Walker formula.

WARNING! Large mooring tilts observed, see sn6101/t10.drav & sn6102/t1.drav

data.Instr. depth changed to 405m as per mooring_tilt data from instr above.

Recovered on cruise IOSOP84-14.

--------------------------------------------------------------------------------