These data are from a Guildline CTD.  It was calibrated in the laboratory and checked with water samples and a pair of reversing thermometers in the field.  Values were consistent to 0.01 in both T and S.  Cruise 9501 was done from CSS Vector and included some stations from Howe Sound.  The other cruises were done from the UBC Oceanography boat (aluminum about 20 feet long) using GPS for location.  During cruise 9504 in early June some problems developed so there were some casts with no data in them.  The file IACTD95.zip has the all the data from Burrard Inlet – Indian Arm that are valid. Cruises were 9501 - 9 March 95, 9502 - 5 April 95, 9503- 4 May 95, 9504 – 2 June 95 and 9505 23 June 95.

The files are labeled by cruise and cast number (d = down, u = up).  The first line of the header gives information used in plotting the data during the cast.  The second line gives the Stn, date, time (Pacific Standard Time) at the start of the cast, the year, the cast length in seconds and 2 other numbers.  The third line gives the position and the number of glitches = the number of “bad” readings or spikes found while the data were being put into 0.2 m bins.  The files that are given are .dec = decimated files, that is the data in the 0.2 bins at 1 m intervals to 50 m and 5 m intervals for deeper data.  If there is no datum in a bin, then the datum from the nearest valid bin is given.  The depth is zeroed after the CTD is in the water so there can be some data at negative depths in the files.  The 1980 equations of state is used for sgima-t.

Positions of the usual UBC stations are given in the table that follows.  The recorded positions are given in the headers of the files.  The location called Stn 76 in cruise 9501 and QB or qb in the other cruises was near the QB traffic separation buoy and the mooring near it.

INDIAN ARM -BURRARD INLET CTD STATION POSITIONS

(THE BOTTLE STATION NAME USED IN DATA REPORTS IS GIVEN IN BRACKETS)

STATION   		POSITION			DEPTH

3	(Ind 3.0)  49o 27.31'  122o 52.51'		 79 m

7	(Ind 2.8)  49  26.42   122  51.70		105

13	(Ind 2.5)  49  24.83   122  52.11		210

18	(Ind 2.0)  49  23.63   122  52.49		218

23	(Ind 1.5)  49  22.34   122  52.70		197

30	(Ind 1.4)  49  21.30   122  53.50		170

31	(Ind 1.1)  49  20.45   122  54.57		126

35	(Ind 0.8)  49  19.77   122  55.58		 75

40	(Ind 0.1)  49  18.56   122  56.42		 37

44	(Van 36)  49  17.82   122  57.00		 38

48	(Van 34)  49  17.90   122  58.88		 64

54	(Van 30)  49  17.72   123   0.73		 34

60	(Van 27)  49  17.73   123   3.32		 35

66	(Van 24)  49  17.90   123   5.91		 65

75	(Van 18)  49  19.06   123   9.20		 51